## Slide 1: Integrated course „Energy Economics“ - Financial management -
Chair of Energy Systems | Department of Energy Systems
Technische Universität Berlin

## Slide 2: Outline
Fundamentals of finance
Time value of money
Capital structure and cost of capital
Capital budgeting: NPV method
NPV vs IRR
Levelised cost of electricity (LCOE)
Real options

## Slide 3: Recap: Time value of money, NPV and IRR
K = Capital
i = Interest rate / Discount rate
T = Time horizon / Economic lifetime
K0 = Present value
KT = Value at the Time horizon
Net Present Value:
Compounding:
Discounting:
CFt = Cash Flow in period t
I0 = Investment in period 0
i = Interest rate / Discount rate
T = Time horizon / Economic lifetime
t = Period
IRR:

## Slide 4: Recap: Annuity
Annuity is a level stream of regular payments during a fixed number of periods.

## Slide 5: Annuity factor

## Slide 6: Capital recovery factor

## Slide 7: Levelised cost of electricity (LCOE)
lifetime costs divided by
lifetime electricity output
Lifetime costs: PV of total cost of building and operating
LCOE allows comparison of technologies regardless of lifetime, installed capacity, cost of capital, risk and return.
initial capital cost*
* specific investment costs: investment costs divided by capacity
annual operating expenses
capacity factor
discount rate
operational life

## Slide 8: Levelised cost of electricity (LCOE)
Generic formula:
For electricity generation: CF are derived from operating cost and revenues from selling electricity
  oc operating cost per unit of energy Q
  pE revenue per unit of energy Q
  Q total amount of electricity output over lifetime
Solving for pE results in levelised cost of electricity (LCOE):
I0
pE = + oc
Q ∙ AFi,T

## Slide 9: Levelised cost of electricity (LCOE)
How to calculate the generation costs per unit of electricity?
I0 ∙ CRFi, t
LCOE = + oc
Qt
Qt = Cap * FLH
  Qt annual electricity output
  Cap installed capacity (rated power)
  FLH full load hours: annual output divided by Cap
Qt [kWh]
Capacity factor =
Cap [kW] * 8.760h

## Slide 10: LCOE calculation
Source: Bradford, 2018

## Slide 11: LCOE composition of generation technologies
Source: Hirth and Steckel, 2016

## Slide 12: Task 3) NPV and Levelized Cost of Energy (LCOE)
The table below describes the investment conditions for a 5 kWpeak PV system in Germany and in Spain:
What is the Net Present Value (NPV) of the investment in Spain and in Germany, given a feed-in tariff (FIT) of 11.83 ct/kWh?
What are the levelised cost of electricity (LCOE) of the photovoltaic system in Germany and in Spain (LCOE = electricity generation costs in ct/kWh based on full costing)?
Assume that electricity retail prices in Spain and Germany are 29 ct/kWh. What does your result in b) imply for the self-consumption of the generated electricity?
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 13: Task 3) NPV and Levelized Cost of Energy (LCOE)
The table describes the investment conditions for a 5 kWpeak PV system in Germany and in Spain:
What is the Net Present Value (NPV) of the investment in Spain and in Germany, given a feed-in tariff (FIT) of 11.83 ct/kWh?
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 14: Task 3) NPV and Levelized Cost of Energy (LCOE)
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 15: Task 3) NPV and Levelized Cost of Energy (LCOE)
The table describes the investment conditions for a 5 kWpeak PV system in Germany and in Spain:
What are the levelised cost of electricity (LCOE) of the photovoltaic system in Germany and in Spain (LCOE = electricity generation costs in ct/kWh based on full costing)?
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 16: Task 3) NPV and Levelized Cost of Energy (LCOE)
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 17: Task 3) NPV and Levelized Cost of Energy (LCOE)
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 18: Task 3) NPV and Levelized Cost of Energy (LCOE)
The table describes the investment conditions for a 5 kWpeak PV system in Germany and in Spain:
Assume that electricity retail prices in Spain and Germany are 29 ct/kWh. What does your result in b) imply for the self-consumption of the generated electricity?
LCOE < retail price (for both countries)
-> Self-consumption is preferred over buying electricity from the supplier (retail grid parity is reached).
Description | Germany | Spain | Unit
Specific investment costs | 1 500 | 1 500 | €/kWpeak
Operation and maintenance (O&M) costs | 9 | 9 | €/kWpeak/a
Full load hours | 900 | 1 500 | hours/a
Capacity | 5 | 5 | kWpeak
Lifetime | 20 | 20 | a
Interest rate | 3 | 3 | %

## Slide 19: Task 4) Investment appraisal
There are two power plants as investment options. The data is given below:
  What are the specific investment costs in €/kW of the two options?
  What are the (short-term) marginal generation costs?
  What are the annual capital costs?
  What are the total annual fixed costs per MW installed?
  What are the levelised cost of electricity (LCOE)?
  What must the full load hours of the natural gas power plant be so that the long-term marginal generation costs are equal for both technologies?
 | Natural gas power plant | Hard coal power plant | Units
Capacity | 900 | 900 | MW
Efficiency | 55 | 43 | %
Investment costs | 585 | 900 | Million €
Interest rate | 8 | 8 | %
Lifetime | 20 | 20 | a
Employees | 66 | 140 | Number
Labor costs | 60 000 | 60 000 | €/a/employee
O&M costs | 4 | 8 | Million €/a
Fuel price | 22 | 14 | €/MWhth
Emission factor fuel | 56 | 92 | kg CO2 / GJth
Full load hours | 4 000 | 5 500 | hours/a

## Slide 20: Task 4) Investment appraisal
There are two power plants as investment options.
  What are the specific investment costs in €/kW of the two options?
  What are the (short-term) marginal generation costs?

## Slide 21: Task 4) Investment appraisal
There are two power plants as investment options.
  What are the annual capital costs?

## Slide 22: Task 4) Investment appraisal
There are two power plants as investment options.
  d) What are the total annual fixed costs per MW installed?